## Asset Inventory
Asset | Purpose | Data/Information | Criticality | Threat | Vulnerability | Likelihood | Impact | Risk Score | Risk Level
CT Scanner | CT imaging | Patient imaging data | High | Medical device compromise | Outdated software / firmware | 3 | 5 | 15 | High
MRI Scanner | MRI imaging | Patient imaging data | High | Medical device compromise | Outdated software / firmware | 3 | 5 | 15 | High
X-Ray System | X-ray imaging | Patient imaging data | High | Vulnerability exploitation | Unpatched system | 3 | 4 | 12 | High
PACS | Store and manage medical images | DICOM images | Critical | Ransomware | Poor network segmentation | 4 | 5 | 20 | Critical
RIS | Manage radiology workflow | Patient and radiology data | High | Unauthorized access | Weak access controls | 3 | 4 | 12 | High
Radiologist Workstation | Review images and reports | Patient data | High | Phishing / Malware | Insufficient endpoint protection | 4 | 4 | 16 | High
EHR | Electronic medical records | Patient health information | Critical | Data breach | Excessive user privileges | 3 | 5 | 15 | High
Hospital Network | Connect healthcare systems | Network traffic and da | Critical | Network intrusion | Inadequate network monitoring | 4 | 5 | 20 | Critical
User Accounts | Provide access to systems | Credentials and identi information | High | Credential theft | Weak authentication | 4 | 4 | 16 | High
Patient Data | Clinical information | Protected health information (PHI) | Critical | Data exfiltration | Excessive access permissions | 3 | 5 | 15 | High

## Security Control
Risk | Threat | Recommended Control | Purpose
PACS Ransomware | Ransomware | Network Segmentation, Endpoint Protection, Offline Backups, MFA | Reduce ransomware spread, protect access, and enable recovery after an attack
Hospital Network | Network intrusion | Network Segmentation; Firewall; IDS/IPS; Security Monitoring | Limit unauthorized network access and detect suspicious activity
Workstation Malware | Phishing/ Malware | EDR; Email Security; Security Awareness Training; Patch Management | Prevent malware infection and detect malicious activity on endpoints
Credential Theft | Credential theft | Multi-Factor Authentication (MFA); Least Privilege; Strong Authentication | Reduce the risk of unauthorized access using stolen credentials.
EHR Data Breach | Data breach | Role-Based Access Control (RBAC); MFA; Audit Logging; Data Encryption | Restrict access to patient information and detect unauthorized activity.